1

1

CP11

Care 24/7 Healthcare Limited

Address: 1-3, MAP House, St Leonards Road, Eastbourne, BN21 3UT

T:

01323 370232 |

E:

info@care247healthcare.co.uk

W:

www.care247healthcare.co.uk | Registration Number: 09909827

CP11

Care 24/7 Healthcare Limited

Address: 1-3, MAP House, St Leonards Road, Eastbourne, BN21 3UT

T:

01323 370232 |

E:

info@care247healthcare.co.uk

W:

www.care247healthcare.co.uk | Registration Number: 09909827

Risk Assessment - Bed Rails

| Service User:__________________________________ Date: _____________________ |  |  | BED RAIL SET NO: ________________________ |
| --- | --- | --- | --- |
| ELEMENT | Tick box | COMMENTS |  |
| A: SERVICE USER ASSESSMENT |  |  |  |
| Degree of risk of service user falling from their bed |  |  |  |
| Appropriate methods of preventing this assessed |  |  |  |
| Instances where a bed rail can increase the risk of harm |  |  |  |
| Alternative methods of bed management assessed |  |  |  |
| Body positioning devices instead of bed rails |  |  |  |
| Service user is agitated or confused |  |  |  |
| Service user needs to get out of bed during the night |  |  |  |
| Service user has abnormally large or abnormally small head |  |  |  |
| Service user understands that bed rails are not grab handles |  |  |  |
| B: SUITABILITY OF BED RAILS WITH BED & SERVICE USER |  |  |  |
| Manufacturer provides adequate instructions for use |  |  |  |
| Manufacturer identifies contra-indications for use |  |  |  |
| Bed rail is suitable for the bed to which it will be fitted |  |  |  |
| Bed rail is suitable for use with bedding & mattresses |  |  |  |
| Bed rail to be used with adult / small adult / child (?) |  |  |  |
| Bed rail has been fitted to the bed correctly |  |  |  |
| Spacings between rail bars are not an entrapment hazard |  |  |  |
| Space between bottom rail bar & mattress not a hazard |  |  |  |
| Mattress does not compress easily at edges |  |  |  |
| Gap between headboard & end of bed rail not a hazard |  |  |  |
| Bed rail is secure |  |  |  |
| Mattress thickness does not require extra height rails |  |  |  |
| Service user ’s head or body cannot pass between rails |  |  |  |
| Service user ’s head or body cannot pass under lowest rail |  |  |  |
| Rail bumper needed to reduce risk of entrapment |  |  |  |
| Bed rails have no rough or sharp edges |  |  |  |

2

2

| Service User:__________________________________ Date: _____________________ |  |  | BED RAIL SET NO: ________________________ |
| --- | --- | --- | --- |
| ELEMENT | Tick box | COMMENTS |  |
| C: DESIGN OF BED RAILS |  |  |  |
| Bed design is conducive to the fitting of bed rails |  |  |  |
| Rail bars not too wide apart |  |  |  |
| No large gaps between end of rails and headboard |  |  |  |
| Fittings are secure and will not move away from bed |  |  |  |
| Telescopic parts not easily moved by service user |  |  |  |
| Bed rails carry appropriate BS number or CE-mark |  |  |  |
| D: MAINTENANCE OF BED RAIL SYSTEMS |  |  |  |
| Each set of bed rails included in planned maintenance |  |  |  |
| Checks address adjusters & fixings for wear and tear |  |  |  |
| Checks address clamps for wear and tear |  |  |  |
| Checks address proper working of telescopic parts |  |  |  |
| Checks address material fatigue of plastic parts |  |  |  |
| Bed rail has been fitted to the bed correctly |  |  |  |
| Each set of bed rails has a unique traceability number |  |  |  |
| Each set of bed rails is inspected on a regular basis |  |  |  |
| Records are maintained of all checks and inspections |  |  |  |
| These records are subject to Quality Assurance auditing |  |  |  |
| Signature: ______________________________________ Date: _____________________________ |  |  |  |