OHS9

Care 24/7 Healthcare Limited

Address: 1-3, MAP House, St Leonards Road, Eastbourne, BN21 3UT

T:

01323 370232 |

E:

info@care247healthcare.co.uk

W:

www.care247healthcare.co.uk | Registration Number: 09909827

OHS9

Care 24/7 Healthcare Limited

Address: 1-3, MAP House, St Leonards Road, Eastbourne, BN21 3UT

T:

01323 370232 |

E:

info@care247healthcare.co.uk

W:

www.care247healthcare.co.uk | Registration Number: 09909827

Fire Risk Assessment - Office Facilities -  Risk Assessment Schedule

| HAZARD / RISK | OBSERVATION |  |  |  |  |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | YES |  |  | NO |  |  |  |
| A: FIRE HAZARDS IN THE ENVIRONMENT |  |  |  |  |  |  |  |
| Portable electrical appliances have incorrect fuse rating, leading to overloading. |  |  |  |  |  |  |  |
| Plug on portable electrical appliance - case is cracked / damaged, or is scorched through overheating of the appliance |  |  |  |  |  |  |  |
| Cable sheath on portable electrical appliances cut / damaged. |  |  |  |  |  |  |  |
| Electrical sockets cracked / damaged |  |  |  |  |  |  |  |
| Electrical sockets overloaded / multiple adaptors. |  |  |  |  |  |  |  |
| Electrical extension leads not fully unwound before use - possible overheating. |  |  |  |  |  |  |  |
| Combustible materials too near sources of ignition; e.g. cloths hanging over gas hobs (staff kitchen). |  |  |  |  |  |  |  |
| Combustible materials too near sources of ignition. |  |  |  |  |  |  |  |
| Smoking in non-smoking areas; smoking rules not observed. |  |  |  |  |  |  |  |
| Flammable liquids (petrol, etc) not kept in proper purpose-made containers / not properly labelled. |  |  |  |  |  |  |  |
| Flammable liquids (petrol, etc) not kept in secure locations. |  |  |  |  |  |  |  |
| Empty containers of flammable liquids (petrol, etc) left to accumulate / not disposed of properly. |  |  |  |  |  |  |  |
| Waste left to accumulate. |  |  |  |  |  |  |  |
| Fire blankets not available to deal with kitchen fires (staff kitchen). |  |  |  |  |  |  |  |
| Free standing / portable heaters not safely positioned at point of use. |  |  |  |  |  |  |  |
| Free standing / portable heaters left on unattended. |  |  |  |  |  |  |  |
| Signature: ________________________________________________ Date: __________________ |  |  |  |  |  |  |  |

| HAZARD / RISK | OBSERVATION |  |  |  |  |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | YES |  |  | NO |  |  |  |
| B: PREMISES & ENVIRONMENT |  |  |  |  |  |  |  |
| Internal fire doors do not have automatic closing devices OR closing devices not working properly. |  |  |  |  |  |  |  |
| Internal fire door closing devices slam the door shut rather than operating in a safe and controlled manner. |  |  |  |  |  |  |  |
| Internal fire doors wedged open / obstructed. Not regularly checked and recorded. |  |  |  |  |  |  |  |
| Fire escape routes not clearly displayed / marked. |  |  |  |  |  |  |  |
| Fire escape routes not illuminated. (Check emergency lighting system in addition to normal lighting levels). |  |  |  |  |  |  |  |
| Fire escape routes not displayed in appropriate locations. |  |  |  |  |  |  |  |
| Fire escape routes not completely clear. |  |  |  |  |  |  |  |
| Fire exit doors not able to be opened immediately and easily. |  |  |  |  |  |  |  |
| Fire exit doors not operable from the inside. Pushbar mechanism not working. |  |  |  |  |  |  |  |
| Fire exit doors do not open outwards to full 90 degrees. |  |  |  |  |  |  |  |
| Fire exit doors obstructed / locked. |  |  |  |  |  |  |  |
| Special signage, e.g. braille along handrails, not available for blind / partially sighted persons. |  |  |  |  |  |  |  |
| Signature: ________________________________________________ Date: __________________ |  |  |  |  |  |  |  |

| HAZARD / RISK | OBSERVATION |  |  |  |  |  | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | YES |  |  | NO |  |  |  |
| C: EQUIPMENT |  |  |  |  |  |  |  |
| Fire extinguishers not listed or mapped with locations in the office areas. Therefore not always able to tell whether all extinguishers are in place. |  |  |  |  |  |  |  |
| Fire extinguishers not present OR of incorrect type. |  |  |  |  |  |  |  |
| Fire extinguishers not clearly visible. Access to fire extinguishers obstructed. |  |  |  |  |  |  |  |
| Fire extinguishers not regularly checked / serviced (check status labels). Records not available. |  |  |  |  |  |  |  |
| Staff not trained in the correct working of fire extinguishers. |  |  |  |  |  |  |  |
| Smoke detectors not present / not working / not regularly checked. Records not available. |  |  |  |  |  |  |  |
| Fire alarms not working properly. |  |  |  |  |  |  |  |
| Fire alarm connections to the Fire Station / Fire Officer not functioning properly. |  |  |  |  |  |  |  |
| Fire alarms not regularly tested. Records not available. |  |  |  |  |  |  |  |
| Linked fire protection systems (to fire alarm) not working correctly (e.g. magnetic door release, smoke curtains drop). |  |  |  |  |  |  |  |
| Access to fire hose reels obstructed. |  |  |  |  |  |  |  |
| Fire hosepipes / nozzles in poor condition. Not regularly checked. Records are not available. |  |  |  |  |  |  |  |
| (Where fitted) Sprinkler system not working properly. |  |  |  |  |  |  |  |
| (Where fitted) Sprinkler system not regularly checked. Records not available. |  |  |  |  |  |  |  |
| (Where fitted) Sprinkler heads obstructed. |  |  |  |  |  |  |  |
| Fire blankets not available to deal with kitchen fires (staff kitchen). |  |  |  |  |  |  |  |
| Emergency lighting not working / not of adequate intensity. |  |  |  |  |  |  |  |
| Emergency lighting not regularly tested. Records not available. |  |  |  |  |  |  |  |
| Signature: ________________________________________________ Date: __________________ |  |  |  |  |  |  |  |

| HAZARD / RISK | OBSERVATION |  | Comments |
| --- | --- | --- | --- |
|  | YES | NO |  |
| D: PEOPLE |  |  |  |
| Staff not adequately trained in the principles of fire safety and fire drill and evacuation procedures. |  |  |  |
| Staff not adequately trained in the proper use of fire-fighting equipment. |  |  |  |
| Staff not familiar with emergency procedures upon discovering a fire. |  |  |  |
| Staff not familiar with ways of assisting persons with disabilities in the event of the need to evacuate the premises. |  |  |  |
| Staff not familiar with ways of assisting visitors in the event of the need to evacuate the premises. |  |  |  |
| Fire drills not carried out regularly. Records not available. |  |  |  |
| Fire drills only carried out during “day shift” hours; night duty staff have not been involved. |  |  |  |
| Signature: ________________________________________________ Date: __________________ |  |  |  |